Training Protocol for ​​3D Laser Microscope – LEXT

- Startup and shut down procedure.

- Software interface: (control panels and measurement panels)

- Data acquisition: 2D and 3D images, focus adjustments, imaging with white light and 3D laser scanning mode.

- 3D automatic and manual scanning mode

- Data analysis (surface roughness, height differences, etc.)

- Stitching (2D and 3D).

- Green filter integration.